## Nov_16_2022
Standard Addition Determination of Ammonia-N Concentration in Seawater Blank | [9 empty] | First run after 1.5 hours of color development at 40oC |  |  |  | Ammonia
|  | Vs | absorbance | x | y |  |  |  |  | Sample | Ammonia-N | Absorbance | Calculated N | excreted
(NH4)2SO4 conc (mM) | 7.148 | [9 empty] | ug/mL |  |  | ug/mL
Vo (mL) | 100 | 0 | 0.047 | 0 | 0.047
[S]I (mg N/L) | 200.2398 | 0.05 | 0.094 | 0.10012 | 0.094047 |  |  |  |  | Seawater Blank | 0.12269 | 0.047
x intercept | 0.12269 | 0.075 | 0.109 | 0.15018 | 0.10908 |  |  |  |  | STD addition 1 | 0.2227 | 0.094
x error |  | 0.1 | 0.123 | 0.20024 | 0.12312 |  |  |  |  | STD addition 2 | 0.27267 | 0.109
|  | 0.15 | 0.17 | 0.30036 | 0.17026 |  |  |  |  | STD addition 3 | 0.32261 | 0.123
[10 empty] | STD addition 4 | 0.42242 | 0.17
[15 empty] | Chamber Volume | Animal volume | Volume in chamber | Excretion | excretion
|  | Slope | 0.39836 | 0.048875 | intercept | START TIME | TIME OUT | Time in chamber | Hours as a fraction | CRM in seawater | 0.143 | 0.123 | 0.1873 | -30.98% | (mL) | (ml) | (mL) | (ug/l/hr) | (umol/l/hr)
|  | m-error | 0.020805 | 0.0037551 | b error | 8:18 | 9:30 | 72 | 1.2 | pH7.5 #2 |  | 0.099 | 0.24852 | 0.072798 | 68.55 | 0.5078 | 68.0422 | 4.1278 | 0.29484
|  | R squared | 0.99188 | 0.0046576 | y error | 8:16 | 9:43 | 87 | 1.45 | pH7.5 #5 |  | 0.085 | 0.21337 | 0.037654 | 68.856 | 0.5458 | 68.3102 | 1.7739 | 0.12671
[6 empty] | 8:15 | 10:00 | 105 | 1.75 | pH7.5 #1 |  | 0.111 | 0.27864 | 0.10292 | 68.644 | 0.576 | 68.068 | 4.0032 | 0.28594
[6 empty] | 8:15 | 10:06 | 111 | 1.85 | pH7.5 #3 |  | 0.091 | 0.22843 | 0.052716 | 68.955 | 0.6574 | 68.2976 | 1.9461 | 0.13901
[6 empty] | 8:15 | 10:06 | 111 | 1.85 | pH7.5 #4 |  | 0.089 | 0.22341 | 0.047695 | 68.573 | 0.4508 | 68.1222 | 1.7563 | 0.12545
[6 empty] | 8:17 | 10:20 | 123 | 2.05 | pH7.5 #6 |  | 0.101 | 0.25354 | 0.077818 | 68.019 | 0.5277 | 67.4913 | 2.562 | 0.183
[6 empty] | 8:18 | 10:21 | 123 | 2.05 | pH7.5 #7 |  | 0.099 | 0.24852 | 0.072798 | 68.546 | 0.5277 | 68.0183 | 2.4154 | 0.17253
[6 empty] | 8:18 | 10:23 | 125 | 2.0833 | PH 7.5 BLANK |  | 0.07 | 0.17572 |  | 68.533 |  |  |  |  | slope | 0.39836
[6 empty] | 10:42 | 11:39 | 57 | 0.95 | pH8.0 #2 |  | 0.092 | 0.23094 | 0.027613 | 68.55 | 0.5629 | 67.9871 | 1.9761 | 0.14115 | intercept | -2.1722e-07
[6 empty] | 10:42 | 11:46 | 64 | 1.0667 | pH8.0 #1 |  | 0.068 | 0.1707 | -0.032633 | 68.856 | 0.5946 | 68.2614 | -2.0884 | -0.14917 | rsq | 0.99186
[6 empty] | 10:44 | 11:53 | 69 | 1.15 | pH8.0 #3 |  | 0.087 | 0.21839 | 0.015062 | 68.644 | 0.5324 | 68.1116 | 0.89206 | 0.063719 | r | 0.99592
[6 empty] | 10:46 | 11:58 | 72 | 1.2 | pH8.0 #6 |  | 0.089 | 0.22341 | 0.020082 | 68.955 | 0.569 | 68.386 | 1.1444 | 0.081746
[6 empty] | 10:46 | 12:04 | 78 | 1.3 | pH8.0 #5 |  | 0.106 | 0.26609 | 0.062757 | 68.573 | 0.4472 | 68.1258 | 3.2887 | 0.23491
[6 empty] | 10:44 | 12:13 | 89 | 1.4833 | pH8.0 #4 |  | 0.099 | 0.24852 | 0.045185 | 68.019 | 0.4172 | 67.6018 | 2.0593 | 0.14709
[6 empty] | 10:48 | 12:34 | 106 | 1.7667 | pH8.0 #7 |  | 0.105 | 0.26358 | 0.060246 | 68.546 | 0.4172 | 68.1288 | 2.3233 | 0.16595
[6 empty] | 10:48 | 12:34 | 106 | 1.7667 | pH8.0 - Blank 2 |  | 0.081 | 0.20333 |  | 68.533
[6 empty] | 12:48 | 14:00 | 72 | 1.2 | pH7.0 #3 |  | 0.082 | 0.20584 | 0.072798 | 68.55 | 0.4402 | 68.1098 | 4.1319 | 0.29513
[6 empty] | 12:54 | 14:07 | 73 | 1.2167 | pH7.0 #7 |  | 0.107 | 0.2686 | 0.13555 | 68.856 | 0.5418 | 68.3142 | 7.6112 | 0.54366
[6 empty] | 12:46 | 14:21 | 95 | 1.5833 | pH7.0 #2 |  | 0.093 | 0.23346 | 0.10041 | 68.644 | 0.6289 | 68.0151 | 4.3133 | 0.30809
[6 empty] | 12:46 | 14:22 | 96 | 1.6 | pH7.0 #1 |  | 0.096 | 0.24099 | 0.10794 | 68.955 | 0.4663 | 68.4887 | 4.6205 | 0.33003
[6 empty] | 12:52 | 14:23 | 91 | 1.5167 | pH7.0 #5 |  | 0.087 | 0.21839 | 0.085349 | 68.573 | 0.4666 | 68.1064 | 3.8326 | 0.27376
[6 empty] | 12:53 | 14:30 | 97 | 1.6167 | pH7.0 #6 |  | 0.039 | 0.097901 | -0.035144 | 68.019 | 0.6303 | 67.3887 | -1.4649 | -0.10464
[6 empty] | 12:49 | 14:38 | 109 | 1.8167 | pH7.0 #4 |  | 0.097 | 0.2435 | 0.11045 | 68.019 | 0.6303 | 67.3887 | 4.0972 | 0.29266
[6 empty] | 12:55 | 14:40 | 105 | 1.75 | pH7.0 - Blank 3 |  | 0.053 | 0.13304 |  | 68.533